## SG.P2.180deg.650.Ins3.Trace.c.4
x (uncal) | x (uncal) | z (uncal) | calx = | calz = |  |  | Rint | 47523.65 | 2012-05-14
|  |  | 1.0088 | 0.99726 | STEP 4: |  | m | -1124.54
mm | um | um | f= | -1083.8665 | Input the values in |  | n | -47521.38
0 | 0 | 0.089272 | α (radians)= | -0.03222 | pink from the data |  | s | 1
0.0019625 | -1.9625 | 0.088239 |  |  | sheet after Traces |  | STEP 9:
0.0039249 | -3.9249 | 0.082722 |  |  | a and e are analyzed |  | Input the values in
0.0058874 | -5.8874 | 0.0878 |  |  |  |  | yellow as obtained
0.0078499 | -7.8498 | 0.081032 | v-axis data | zdata (cal) | zmodel |  | from the data sheet
0.0098123 | -9.8123 | 0.085944 |  | RM 8097 - STRAIN GRADIENT (Trace b, c, or d)
0.011775 | -11.7748 | 0.087675 |  | Suggested steps to follow to obtain data for strain gradient from Trace b, c, or d:
0.013737 | -13.7372 | 0.080886 |  | 1 | Start with uncalibrated x data (in mm) in Column A and uncalibrated z data (in um) in Column B
0.0157 | -15.6997 | 0.087046 |  | 2 | Insert a new Column B as data from Column A but in micrometers.
0.017662 | -17.6622 | 0.093352 |  |  |  | Negate these numbers for cantilevers with a 180 degree orientation.
0.019625 | -19.6246 | 0.10537 |  | 3 | Copy the header cells (Cells D1 to I8) in this file into the same Excel location in your file
0.021587 | -21.5871 | 0.1114 |  |  |  | making sure the equations translate
0.02355 | -23.5496 | -0.036243 |  | 4 | Enter the data from Traces a and e (as obtained from other Excel files) into Data Sheet SG.3 and press
0.025512 | -25.512 | -0.5063 |  |  |  | the "Calculate and Verify" button. Enter the pertinent values from the data sheet into the
0.027474 | -27.4745 | -0.4837 |  |  |  | appropriate pink highlighted cells in the header of your Excel file.
0.029437 | -29.437 | -0.45888 |  | 5 | Copy the cells from this file (Cells D226 to F530) into the same Excel location in your file
0.031399 | -31.3994 | -0.44791 |  |  |  | making sure the pertinent equations translate
0.033362 | -33.3619 | -0.44238 |  | 6 | Plot the data from Cells D226 to F530
0.035324 | -35.3243 | -0.44095 |  | 7 | The plot may need to include more or less data at both ends of the plot so make any necessary adjustments.
0.037287 | -37.2868 | -0.44707 |  | 8 | Select 3 data points along the beam as specified in the standard, highlight them, and enter them into the data sheet
0.039249 | -39.2493 | -0.44317 |  |  |  | that includes the data from Traces a and e
0.041212 | -41.2117 | -0.4503 |  | 9 | Press the "Calculate and Verify" button in the data sheet and enter the resulting values for
0.043174 | -43.1742 | -0.45037 |  |  |  | Rint, m, n, and s into the yellow highlighted areas in the header of your Excel file
0.045137 | -45.1367 | -0.45026 |  | 10 | If there are no pertinent "wait" statements at the bottom of your data sheet AND your Excel plot closely follows
0.047099 | -47.0991 | -0.44941 |  |  |  | the data, the next data trace in a different Excel file can be analyzed, if appropriate
0.049062 | -49.0616 | -0.45129 |  | 11 | If there are pertinent "wait" statements at the bottom of your data sheet OR the plot does not closely follow
0.051024 | -51.024 | -0.45415 |  |  |  | the data, modify one or more of the 3 chosen data points, as appropriate, recalculate, and replot.
0.052986 | -52.9865 | -0.45883 |  |  |  | Some data traces may take longer than others to obtain acceptable inputs.
0.054949 | -54.949 | -0.46411
0.056911 | -56.9114 | -0.46523
0.058874 | -58.8739 | -0.46478
0.060836 | -60.8364 | -0.46246
0.062799 | -62.7988 | -0.4598
0.064761 | -64.7613 | -0.44733
0.066724 | -66.7238 | -0.4466
0.068686 | -68.6862 | -0.44377
0.070649 | -70.6487 | -0.44849
0.072611 | -72.6111 | -0.45528
0.074574 | -74.5736 | -0.4576
0.076536 | -76.5361 | -0.45652
0.078498 | -78.4985 | -0.45666
0.080461 | -80.461 | -0.46471
0.082423 | -82.4235 | -0.46275
0.084386 | -84.3859 | -0.45754
0.086348 | -86.3484 | -0.45929
0.088311 | -88.3109 | -0.46491
0.090273 | -90.2733 | -0.46807
0.092236 | -92.2358 | -0.46572
0.094198 | -94.1982 | -0.47209
0.096161 | -96.1607 | -0.47145
0.098123 | -98.1232 | -0.47413
0.10009 | -100.086 | -0.47268
0.10205 | -102.048 | -0.46887
0.10401 | -104.011 | -0.46622
0.10597 | -105.973 | -0.4656
0.10794 | -107.935 | -0.465
0.1099 | -109.898 | -0.46819
0.11186 | -111.86 | -0.46695
0.11382 | -113.823 | -0.47094
0.11578 | -115.785 | -0.46619
0.11775 | -117.748 | -0.47962
0.11971 | -119.71 | -0.4786
0.12167 | -121.673 | -0.47253
0.12363 | -123.635 | -0.46495
0.1256 | -125.598 | -0.46922
0.12756 | -127.56 | -0.47207
0.12952 | -129.523 | -0.47397
0.13148 | -131.485 | -0.48032
0.13345 | -133.448 | -0.48731
0.13541 | -135.41 | -0.48917
0.13737 | -137.372 | -0.48787
0.13933 | -139.335 | -0.4882
0.1413 | -141.297 | -0.48289
0.14326 | -143.26 | -0.48372
0.14522 | -145.222 | -0.48514
0.14719 | -147.185 | -0.48468
0.14915 | -149.147 | -0.47864
0.15111 | -151.11 | -0.48706
0.15307 | -153.072 | -0.48804
0.15504 | -155.035 | -0.48708
0.157 | -156.997 | -0.48947
0.15896 | -158.96 | -0.4854
0.16092 | -160.922 | -0.48657
0.16288 | -162.884 | -0.48402
0.16485 | -164.847 | -0.48771
0.16681 | -166.809 | -0.49484
0.16877 | -168.772 | -0.49102
0.17073 | -170.734 | -0.48861
0.1727 | -172.697 | -0.48716
0.17466 | -174.659 | -0.50092
0.17662 | -176.622 | -0.50065
0.17858 | -178.584 | -0.50961
0.18055 | -180.547 | -0.50659
0.18251 | -182.509 | -0.50863
0.18447 | -184.472 | -0.51199
0.18643 | -186.434 | -0.51411
0.1884 | -188.396 | -0.50687
0.19036 | -190.359 | -0.49983
0.19232 | -192.321 | -0.49463
0.19428 | -194.284 | -0.49616
0.19625 | -196.246 | -0.5007
0.19821 | -198.209 | -0.49935
0.20017 | -200.171 | -0.49666
0.20213 | -202.134 | -0.50186
0.2041 | -204.096 | -0.50728
0.20606 | -206.059 | -0.50955
0.20802 | -208.021 | -0.49859
0.20998 | -209.984 | -0.50909
0.21195 | -211.946 | -0.51252
0.21391 | -213.909 | -0.51765
0.21587 | -215.871 | -0.5157
0.21783 | -217.833 | -0.51176
0.2198 | -219.796 | -0.50807
0.22176 | -221.758 | -0.51479
0.22372 | -223.721 | -0.5116
0.22568 | -225.683 | -0.51952
0.22765 | -227.646 | -0.52179
0.22961 | -229.608 | -0.52086
0.23157 | -231.571 | -0.52013
0.23353 | -233.533 | -0.51678
0.2355 | -235.496 | -0.52446
0.23746 | -237.458 | -0.52644
0.23942 | -239.421 | -0.52899
0.24138 | -241.383 | -0.50772
0.24335 | -243.345 | -0.48931
0.24531 | -245.308 | -0.093455
0.24727 | -247.27 | 0.015087
0.24923 | -249.233 | 0.0070012
0.2512 | -251.195 | 3.5952e-05
0.25316 | -253.158 | 0.0041595
0.25512 | -255.12 | 0.0017744
0.25708 | -257.083 | -0.0073687
0.25905 | -259.045 | -0.0065849
0.26101 | -261.008 | -0.0064286
0.26297 | -262.97 | -0.0024149
0.26493 | -264.933 | 0.002031
0.26689 | -266.895 | 0.010398
0.26886 | -268.857 | 0.008242
0.27082 | -270.82 | 0.00086173
0.27278 | -272.782 | -0.012681
0.27475 | -274.745 | -0.0047241
0.27671 | -276.707 | -0.0041894
0.27867 | -278.67 | -0.00057603
0.28063 | -280.632 | 0.0040481
0.28259 | -282.595 | 0.0078054
0.28456 | -284.557 | 0.0031937
0.28652 | -286.52 | 0.0049003
0.28848 | -288.482 | 0.0033427
0.29045 | -290.445 | 0.0062017
0.29241 | -292.407 | 0.0056646
0.29437 | -294.37 | 0.0018634
0.29633 | -296.332 | -0.003034
0.29829 | -298.294 | -0.0060955
0.30026 | -300.257 | -0.0043327
0.30222 | -302.219 | 0.0014877
0.30418 | -304.182 | 0.019015
0.30614 | -306.144 | 0.02263
0.30811 | -308.107 | -0.23497
0.31007 | -310.069 | -0.6564
0.31203 | -312.032 | -0.57803
0.31399 | -313.994 | -0.55562
0.31596 | -315.957 | -0.55725
0.31792 | -317.919 | -0.551
0.31988 | -319.882 | -0.55006
0.32184 | -321.844 | -0.56381
0.32381 | -323.806 | -0.56259
0.32577 | -325.769 | -0.56137
0.32773 | -327.731 | -0.55726
0.32969 | -329.694 | -0.54964
0.33166 | -331.656 | -0.54575
0.33362 | -333.619 | -0.54941
0.33558 | -335.581 | -0.55851
0.33754 | -337.544 | -0.55373
0.33951 | -339.506 | -0.55178
0.34147 | -341.469 | -0.55413
0.34343 | -343.431 | -0.56532
0.34539 | -345.394 | -0.57045
0.34736 | -347.356 | -0.56839
0.34932 | -349.318 | -0.56491
0.35128 | -351.281 | -0.55967
0.35324 | -353.243 | -0.5604
0.35521 | -355.206 | -0.56245
0.35717 | -357.168 | -0.55795
0.35913 | -359.131 | -0.55694
0.36109 | -361.093 | -0.55673
0.36306 | -363.056 | -0.56084
0.36502 | -365.018 | -0.56193
0.36698 | -366.981 | -0.56363
0.36894 | -368.943 | -0.56065
0.37091 | -370.906 | -0.56075
0.37287 | -372.868 | -0.563
0.37483 | -374.831 | -0.56275
0.37679 | -376.793 | -0.56127
0.37876 | -378.755 | -0.55261
0.38072 | -380.718 | -0.54987
0.38268 | -382.68 | -0.55279
0.38464 | -384.643 | -0.52729
0.3866 | -386.605 | -0.44726
0.38857 | -388.568 | -0.37851
0.39053 | -390.53 | -0.38083
0.39249 | -392.493 | -0.38994
0.39446 | -394.455
0.39642 | -396.418
0.39838 | -398.38
0.40034 | -400.343
0.40231 | -402.305
0.40427 | -404.267
0.40623 | -406.23
0.40819 | -408.192
0.41015 | -410.155
0.41212 | -412.117
0.41408 | -414.08
0.41604 | -416.042
0.41801 | -418.005
0.41997 | -419.967
0.42193 | -421.93
0.42389 | -423.892
0.42585 | -425.855
0.42782 | -427.817 | -2.309
0.42978 | -429.779 | -2.4429
0.43174 | -431.742 | -2.5644
0.4337 | -433.704 | -2.6003
0.43567 | -435.667 | -2.6117 | -439.8196 | -2.6045 | -2.663
0.43763 | -437.629 | -2.5724 | -441.7978 | -2.5653 | -2.6345
0.43959 | -439.592 | -2.5712 | -443.777 | -2.5642 | -2.6061
0.44155 | -441.554 | -2.5703 | -445.7551 | -2.5633 | -2.5778
0.44352 | -443.517 | -2.5286 | -447.7343 | -2.5217 | -2.5496
0.44548 | -445.479 | -2.4535 | -449.7125 | -2.4468 | -2.5215
0.44744 | -447.442 | -2.4509 | -451.6917 | -2.4442 | -2.4934
0.4494 | -449.404 | -2.4491 | -453.6698 | -2.4424 | -2.4654
0.45137 | -451.367 | -2.4249 | -455.649 | -2.4183 | -2.4375
0.45333 | -453.329 | -2.3739 | -457.6272 | -2.3674 | -2.4097
0.45529 | -455.292 | -2.3202 | -459.6064 | -2.3138 | -2.382
0.45725 | -457.254 | -2.2932 | -461.5845 | -2.2869 | -2.3543
0.45922 | -459.216 | -2.3336 | -463.5627 | -2.3272 | -2.3268
0.46118 | -461.179 | -2.333 | -465.5419 | -2.3266 | -2.2993
0.46314 | -463.141 | -2.2665 | -467.52 | -2.2603 | -2.2719
0.4651 | -465.104 | -2.1833 | -469.4992 | -2.1773 | -2.2446
0.46707 | -467.066 | -2.1139 | -471.4774 | -2.1081 | -2.2174
0.46903 | -469.029 | -2.1259 | -473.4565 | -2.12 | -2.1902
0.47099 | -470.991 | -2.215 | -475.4347 | -2.2089 | -2.1631
0.47295 | -472.954 | -2.1734 | -477.4139 | -2.1675 | -2.1361
0.47492 | -474.916 | -2.0692 | -479.3921 | -2.0635 | -2.1092
0.47688 | -476.879 | -2.0021 | -481.3712 | -1.9966 | -2.0824
0.47884 | -478.841 | -1.9667 | -483.3494 | -1.9613 | -2.0557
0.4808 | -480.804 | -2.0078 | -485.3286 | -2.0023 | -2.029
0.48277 | -482.766 | -2.0559 | -487.3067 | -2.0503 | -2.0024
0.48473 | -484.728 | -2.0128 | -489.2849 | -2.0073 | -1.976
0.48669 | -486.691 | -1.9409 | -491.2641 | -1.9356 | -1.9495
0.48865 | -488.653 | -1.8315 | -493.2423 | -1.8265 | -1.9232
0.49062 | -490.616 | -1.801 | -495.2214 | -1.796 | -1.897
0.49258 | -492.578 | -1.8034 | -497.1996 | -1.7985 | -1.8708
0.49454 | -494.541 | -1.8174 | -499.1788 | -1.8124 | -1.8447
0.4965 | -496.503 | -1.8311 | -501.1569 | -1.8261 | -1.8187
0.49847 | -498.466 | -1.7591 | -503.1361 | -1.7543 | -1.7928
0.50043 | -500.428 | -1.6806 | -505.1143 | -1.676 | -1.767
0.50239 | -502.391 | -1.6602 | -507.0935 | -1.6556 | -1.7412
0.50435 | -504.353 | -1.6353 | -509.0716 | -1.6308 | -1.7156
0.50632 | -506.316 | -1.6102 | -511.0508 | -1.6058 | -1.69
0.50828 | -508.278 | -1.6465 | -513.029 | -1.642 | -1.6645
0.51024 | -510.24 | -1.628 | -515.0071 | -1.6235 | -1.6391
0.5122 | -512.203 | -1.6024 | -516.9863 | -1.598 | -1.6137
0.51416 | -514.165 | -1.5714 | -518.9645 | -1.5671 | -1.5885
0.51613 | -516.128 | -1.4714 | -520.9437 | -1.4674 | -1.5633
0.51809 | -518.09 | -1.3755 | -522.9218 | -1.3717 | -1.5382
0.52005 | -520.053 | -1.375 | -524.901 | -1.3713 | -1.5132
0.52202 | -522.015 | -1.4213 | -526.8792 | -1.4174 | -1.4883
0.52398 | -523.978 | -1.4585 | -528.8584 | -1.4545 | -1.4634
0.52594 | -525.94 | -1.4366 | -530.8365 | -1.4326 | -1.4387
0.5279 | -527.903 | -1.3613 | -532.8157 | -1.3575 | -1.414
0.52987 | -529.865 | -1.231 | -534.7939 | -1.2276 | -1.3894
0.53183 | -531.828 | -1.1927 | -536.773 | -1.1894 | -1.3649
0.53379 | -533.79 | -1.2402 | -538.7512 | -1.2368 | -1.3404
0.53575 | -535.753 | -1.3107 | -540.7304 | -1.3071 | -1.3161
0.53772 | -537.715 | -1.3406 | -542.7086 | -1.3369 | -1.2918
0.53968 | -539.677 | -1.2643 | -544.6867 | -1.2608 | -1.2676
0.54164 | -541.64 | -1.1542 | -546.6659 | -1.151 | -1.2435
0.5436 | -543.602 | -1.054 | -548.6441 | -1.0511 | -1.2195
0.54556 | -545.565 | -1.0003 | -550.6232 | -0.99756 | -1.1956
0.54753 | -547.527 | -1.0465 | -552.6014 | -1.0437 | -1.1717
0.54949 | -549.49 | -1.1057 | -554.5806 | -1.1027 | -1.1479
0.55145 | -551.452 | -1.1838 | -556.5588 | -1.1805 | -1.1242
0.55341 | -553.415 | -1.1294 | -558.5379 | -1.1263 | -1.1006
0.55538 | -555.377 | -1.0244 | -560.5161 | -1.0215 | -1.0771
0.55734 | -557.34 | -0.924 | -562.4953 | -0.92147 | -1.0537
0.5593 | -559.302 | -0.902 | -564.4734 | -0.89953 | -1.0303
0.56127 | -561.265 | -0.91835 | -566.4526 | -0.91584 | -1.007
0.56323 | -563.227 | -0.97663 | -568.4308 | -0.97396 | -0.98383
0.56519 | -565.189 | -1.0398 | -570.4089 | -1.037 | -0.96072
0.56715 | -567.152 | -1.0231 | -572.3881 | -1.0203 | -0.93769
0.56911 | -569.114 | -0.92785 | -574.3663 | -0.92531 | -0.91474
0.57108 | -571.077 | -0.80861 | -576.3455 | -0.80639 | -0.89187
0.57304 | -573.039 | -0.77853 | -578.3236 | -0.77639 | -0.86909
0.575 | -575.002 | -0.7699 | -580.3028 | -0.76779 | -0.84638
0.57696 | -576.964 | -0.81109 | -582.281 | -0.80887 | -0.82377
0.57893 | -578.927 | -0.87091 | -584.2602 | -0.86852 | -0.80123
0.58089 | -580.889 | -0.85307 | -586.2383 | -0.85074 | -0.77878
0.58285 | -582.852 | -0.77543 | -588.2175 | -0.77331 | -0.7564
0.58481 | -584.814 | -0.71697 | -590.1957 | -0.715 | -0.73411
0.58678 | -586.777 | -0.67876 | -592.1748 | -0.6769 | -0.7119
0.58874 | -588.739 | -0.65524 | -594.153 | -0.65345 | -0.68978
0.5907 | -590.701 | -0.62106 | -596.1312 | -0.61936 | -0.66774
0.59266 | -592.664 | -0.61899 | -598.1104 | -0.6173 | -0.64578
0.59463 | -594.626 | -0.65646 | -600.0885 | -0.65466 | -0.6239
0.59659 | -596.589 | -0.67158 | -602.0677 | -0.66973 | -0.6021
0.59855 | -598.551 | -0.62812 | -604.0459 | -0.6264 | -0.58039
0.60051 | -600.514 | -0.59625 | -606.025 | -0.59462 | -0.55876
0.60248 | -602.476 | -0.547 | -608.0032 | -0.54551 | -0.53721
0.60444 | -604.439 | -0.49898 | -609.9824 | -0.49761 | -0.51574
0.6064 | -606.401 | -0.42995 | -611.9606 | -0.42877 | -0.49436
0.60836 | -608.364 | -0.40357 | -613.9397 | -0.40246 | -0.47306
0.61033 | -610.326 | -0.48095 | -615.9179 | -0.47964 | -0.45184
0.61229 | -612.289 | -0.54954 | -617.8971 | -0.54804 | -0.4307
0.61425 | -614.251 | -0.5612 | -619.8752 | -0.55966 | -0.40965
0.61621 | -616.213 | -0.50543 | -621.8534 | -0.50404 | -0.38869
0.61818 | -618.176 | -0.41496 | -623.8326 | -0.41382 | -0.36779
0.62014 | -620.138 | -0.29546 | -625.8108 | -0.29465 | -0.34699
0.6221 | -622.101 | -0.25107 | -627.7899 | -0.25039 | -0.32626
0.62406 | -624.063 | -0.27016 | -629.7681 | -0.26942 | -0.30562
0.62603 | -626.026 | -0.33247 | -631.7473 | -0.33156 | -0.28506
0.62799 | -627.988 | -0.39084 | -633.7254 | -0.38977 | -0.26458
0.62995 | -629.951 | -0.41296 | -635.7046 | -0.41183 | -0.24418
0.63191 | -631.913 | -0.40058 | -637.6828 | -0.39948 | -0.22388
0.63388 | -633.876 | -0.26255 | -639.662 | -0.26183 | -0.20364
0.63584 | -635.838 | -0.14169 | -641.6401 | -0.1413 | -0.1835
0.6378 | -637.801 | -0.093029 | -643.6193 | -0.092774 | -0.16343
0.63976 | -639.763 | -0.075846 | -645.5975 | -0.075638 | -0.14345
0.64173 | -641.726 | -0.099564 | -647.5766 | -0.099291 | -0.12354
0.64369 | -643.688 | -0.17227 | -649.5548 | -0.1718 | -0.10373
0.64565 | -645.65 | -0.24226 | -651.533 | -0.2416 | -0.083998
0.64761 | -647.613 | -0.24158 | -653.5122 | -0.24092 | -0.06434
0.64958 | -649.575 | -0.16829 | -655.4903 | -0.16783 | -0.044773
0.65154 | -651.538 | -0.079112 | -657.4695 | -0.078896 | -0.025279
0.6535 | -653.5 | -0.0051255 | -659.4477 | -0.0051114 | -0.005878
0.65546 | -655.463 | 0.043217 | -661.4268 | 0.043098 | 0.013451
0.65743 | -657.425 | 0.039809 | -663.405 | 0.0397 | 0.032688
0.65939 | -659.388 | 0.0024821 | -665.3842 | 0.0024753 | 0.051852
0.66135 | -661.35 | -0.023446 | -667.3624 | -0.023381 | 0.070924
0.66331 | -663.313 | -0.042542 | -669.3415 | -0.042426 | 0.089923
0.66527 | -665.275 | -0.049322 | -671.3197 | -0.049187 | 0.10883
0.66724 | -667.238 | 0.0042915 | -673.2989 | 0.0042797 | 0.12767
0.6692 | -669.2 | 0.076936 | -675.277 | 0.076725 | 0.14641
0.67116 | -671.162 | 0.16429 | -677.2552 | 0.16384 | 0.16507
0.67312 | -673.125 | 0.21663 | -679.2344 | 0.21603 | 0.18366
0.67509 | -675.087 | 0.25684 | -681.2126 | 0.25614 | 0.20215
0.67705 | -677.05 | 0.22926 | -683.1917 | 0.22863 | 0.22057
0.67901 | -679.012 | 0.12875 | -685.1699 | 0.12839 | 0.2389
0.68097 | -680.975 | 0.059155 | -687.1491 | 0.058993 | 0.25716
0.68294 | -682.937 | 0.071975 | -689.1272 | 0.071778 | 0.27533
0.6849 | -684.9 | 0.10751 | -691.1064 | 0.10722 | 0.29342
0.68686 | -686.862 | 0.16588 | -693.0846 | 0.16542 | 0.31142
0.68883 | -688.825 | 0.24505 | -695.0638 | 0.24438 | 0.32935
0.69079 | -690.787 | 0.34796 | -697.0419 | 0.347 | 0.34719
0.69275 | -692.75 | 0.44611 | -699.0211 | 0.44488 | 0.36495
0.69471 | -694.712 | 0.44589 | -700.9993 | 0.44467 | 0.38262
0.69667 | -696.674 | 0.39452 | -702.9774 | 0.39344 | 0.40021
0.69864 | -698.637 | 0.29609 | -704.9566 | 0.29528 | 0.41773
0.7006 | -700.599 | 0.22622 | -706.9348 | 0.2256 | 0.43515
0.70256 | -702.562 | 0.23522 | -708.914 | 0.23458 | 0.4525
0.70452 | -704.524 | 0.30908 | -710.8921 | 0.30824 | 0.46976
0.70649 | -706.487 | 0.41989 | -712.8713 | 0.41874 | 0.48695
0.70845 | -708.449 | 0.49951 | -714.8495 | 0.49815 | 0.50404
0.71041 | -710.412 | 0.58642 | -716.8286 | 0.58481 | 0.52106
0.71237 | -712.374 | 0.61258 | -718.8068 | 0.6109 | 0.53799
0.71434 | -714.337 | 0.59605 | -720.786 | 0.59441 | 0.55485
0.7163 | -716.299 | 0.51959 | -722.7642 | 0.51817 | 0.57162
0.71826 | -718.262 | 0.45193 | -724.7433 | 0.45069 | 0.58831
0.72022 | -720.224 | 0.41101 | -726.7215 | 0.40988 | 0.60491
0.72219 | -722.187 | 0.42033 | -728.7007 | 0.41917 | 0.62144
0.72415 | -724.149 | 0.52067 | -730.6788 | 0.51924 | 0.63787
0.72611 | -726.111 | 0.6079 | -732.657 | 0.60624 | 0.65423
0.72807 | -728.074 | 0.67393 | -734.6362 | 0.67208 | 0.67051
0.73004 | -730.036 | 0.68815 | -736.6144 | 0.68627 | 0.6867
0.732 | -731.999 | 0.71862 | -738.5935 | 0.71665 | 0.70281
0.73396 | -733.961 | 0.72191 | -740.5717 | 0.71993 | 0.71883
0.73592 | -735.924 | 0.697 | -742.5509 | 0.69509 | 0.73478
0.73789 | -737.886 | 0.64752 | -744.529 | 0.64575 | 0.75064
0.73985 | -739.849 | 0.63982 | -746.5082 | 0.63807 | 0.76643
0.74181 | -741.811 | 0.65672 | -748.4864 | 0.65492 | 0.78212
0.74377 | -743.774 | 0.70713 | -750.4656 | 0.70519 | 0.79775
0.74574 | -745.736 | 0.73777 | -752.4437 | 0.73575 | 0.81328
0.7477 | -747.699 | 0.77894 | -754.4229 | 0.77681 | 0.82873
0.74966 | -749.661 | 0.81938 | -756.4011 | 0.81713 | 0.8441
0.75162 | -751.623 | 0.84595 | -758.3792 | 0.84363 | 0.85938
0.75359 | -753.586 | 0.86301 | -760.3584 | 0.86065 | 0.87459
0.75555 | -755.548 | 0.84782 | -762.3366 | 0.8455 | 0.88971
0.75751 | -757.511 | 0.84179 | -764.3158 | 0.83948 | 0.90475
0.75947 | -759.473 | 0.85368 | -766.2939 | 0.85134 | 0.9197
0.76144 | -761.436 | 0.86369 | -768.2731 | 0.86132 | 0.93458
0.7634 | -763.398 | 0.88989 | -770.2513 | 0.88745 | 0.94937
0.76536 | -765.361 | 0.93354 | -772.2305 | 0.93098 | 0.96408
0.76732 | -767.323 | 0.9491 | -774.2086 | 0.9465 | 0.97871
0.76929 | -769.286 | 0.96089 | -776.1878 | 0.95825 | 0.99326
0.77125 | -771.248 | 0.98195 | -778.166 | 0.97926 | 1.0077
0.77321 | -773.211 | 0.97813 | -780.1451 | 0.97545 | 1.0221
0.77517 | -775.173 | 0.99175 | -782.1233 | 0.98903 | 1.0364
0.77714 | -777.135 | 1.0221 | -784.1015 | 1.0193 | 1.0506
0.7791 | -779.098 | 1.0667 | -786.0807 | 1.0637 | 1.0647
0.78106 | -781.06 | 1.0924 | -788.0588 | 1.0894 | 1.0788
0.78302 | -783.023 | 1.1251 | -790.038 | 1.122 | 1.0928
0.78499 | -784.985 | 1.158 | -792.0162 | 1.1548 | 1.1066
0.78695 | -786.948 | 1.1726 | -793.9953 | 1.1694 | 1.1205
0.78891 | -788.91 | 1.1742 | -795.9735 | 1.171 | 1.1342
0.79087 | -790.873 | 1.1356 | -797.9527 | 1.1325 | 1.1478
0.79283 | -792.835 | 1.0938 | -799.9309 | 1.0908 | 1.1614
0.7948 | -794.798 | 1.0699 | -801.91 | 1.067 | 1.1748
0.79676 | -796.76 | 1.0871 | -803.8882 | 1.0841 | 1.1882
0.79872 | -798.723 | 1.1414 | -805.8674 | 1.1382 | 1.2015
0.80068 | -800.685 | 1.1998 | -807.8455 | 1.1965 | 1.2148
0.80265 | -802.648 | 1.2389 | -809.8247 | 1.2355 | 1.2279
0.80461 | -804.61 | 1.2755 | -811.8029 | 1.272 | 1.241
0.80657 | -806.572 | 1.3197 | -813.781 | 1.3161 | 1.254
0.80854 | -808.535 | 1.321 | -815.7602 | 1.3173 | 1.2669
0.8105 | -810.497 | 1.3043 | -817.7384 | 1.3007 | 1.2797
0.81246 | -812.46 | 1.275 | -819.7176 | 1.2715 | 1.2924
0.81442 | -814.422 | 1.2624 | -821.6957 | 1.259 | 1.3051
0.81639 | -816.385 | 1.2584 | -823.6749 | 1.255 | 1.3176
0.81835 | -818.347 | 1.2546 | -825.6531 | 1.2512 | 1.3301
0.82031 | -820.31 | 1.26 | -827.6323 | 1.2566 | 1.3425
0.82227 | -822.272 | 1.3006 | -829.6104 | 1.297 | 1.3548
0.82424 | -824.235 | 1.3438 | -831.5896 | 1.3402 | 1.3671
0.8262 | -826.197 | 1.3846 | -833.5678 | 1.3808 | 1.3792
0.82816 | -828.16 | 1.4122 | -835.5469 | 1.4083 | 1.3913
0.83012 | -830.122 | 1.4375 | -837.5251 | 1.4335 | 1.4033
0.83208 | -832.084 | 1.4657 | -839.5033 | 1.4617 | 1.4152
0.83405 | -834.047 | 1.4916 | -841.4825 | 1.4875 | 1.427
0.83601 | -836.009 | 1.4666 | -843.4606 | 1.4626 | 1.4388
0.83797 | -837.972 | 1.4542 | -845.4398 | 1.4502 | 1.4504
0.83993 | -839.934 | 1.4294 | -847.418 | 1.4255 | 1.462
0.8419 | -841.897 | 1.426 | -849.3971 | 1.4221 | 1.4735
0.84386 | -843.859 | 1.4308 | -851.3753 | 1.4269 | 1.4849
0.84582 | -845.822 | 1.4383 | -853.3545 | 1.4344 | 1.4963
0.84778 | -847.784 | 1.4684 | -855.3327 | 1.4644 | 1.5075
0.84975 | -849.747 | 1.4991 | -857.3118 | 1.495 | 1.5187
0.85171 | -851.709 | 1.521 | -859.29 | 1.5168 | 1.5298
0.85367 | -853.672 | 1.5429 | -861.2692 | 1.5387 | 1.5408
0.85563 | -855.634 | 1.5735 | -863.2473 | 1.5692 | 1.5517
0.8576 | -857.596 | 1.5925 | -865.2255 | 1.5882 | 1.5625
0.85956 | -859.559 | 1.5954 | -867.2047 | 1.591 | 1.5733
0.86152 | -861.521 | 1.5956 | -869.1829 | 1.5912 | 1.5839
0.86348 | -863.484 | 1.6 | -871.162 | 1.5957 | 1.5945
0.86545 | -865.446 | 1.611 | -873.1402 | 1.6065 | 1.605
0.86741 | -867.409 | 1.6151 | -875.1194 | 1.6107 | 1.6155
0.86937 | -869.371 | 1.6204 | -877.0975 | 1.616 | 1.6258
0.87133 | -871.334 | 1.626 | -879.0767 | 1.6215 | 1.6361
0.8733 | -873.296 | 1.6316 | -881.0549 | 1.6271 | 1.6463
0.87526 | -875.259 | 1.6222 | -883.0341 | 1.6178 | 1.6564
0.87722 | -877.221 | 1.6359 | -885.0122 | 1.6314 | 1.6664
0.87918 | -879.184 | 1.6599 | -886.9914 | 1.6554 | 1.6763
0.88115 | -881.146 | 1.6832 | -888.9696 | 1.6785 | 1.6861
0.88311 | -883.109 | 1.6883 | -890.9487 | 1.6836 | 1.6959
0.88507 | -885.071 | 1.6949 | -892.9269 | 1.6903 | 1.7056
0.88703 | -887.033 | 1.7222 | -894.9051 | 1.7175 | 1.7152
0.889 | -888.996 | 1.7218 | -896.8843 | 1.7171 | 1.7247
0.89096 | -890.958 | 1.7181 | -898.8624 | 1.7134 | 1.7342
0.89292 | -892.921 | 1.7228 | -900.8416 | 1.7181 | 1.7435
0.89488 | -894.883 | 1.7446 | -902.8198 | 1.7398 | 1.7528
0.89685 | -896.846 | 1.7673 | -904.7989 | 1.7625 | 1.762
0.89881 | -898.808 | 1.7608 | -906.7771 | 1.7559 | 1.7711
0.90077 | -900.771 | 1.7618 | -908.7563 | 1.757 | 1.7801
0.90273 | -902.733 | 1.7605 | -910.7345 | 1.7557 | 1.789
0.9047 | -904.696 | 1.7689 | -912.7136 | 1.7641 | 1.7979
0.90666 | -906.658 | 1.7823 | -914.6918 | 1.7774 | 1.8067
0.90862 | -908.621 | 1.7946 | -916.671 | 1.7897 | 1.8154
0.91058 | -910.583 | 1.7815 | -918.6491 | 1.7766 | 1.824
0.91255 | -912.545 | 1.8008 | -920.6273 | 1.7958 | 1.8325
0.91451 | -914.508 | 1.8256 | -922.6065 | 1.8206 | 1.841
0.91647 | -916.47 | 1.8382 | -924.5847 | 1.8332 | 1.8493
0.91843 | -918.433 | 1.8384 | -926.5638 | 1.8334 | 1.8576
0.92039 | -920.395 | 1.847 | -928.542 | 1.8419 | 1.8658
0.92236 | -922.358 | 1.8519 | -930.5212 | 1.8468 | 1.874
0.92432 | -924.32 | 1.8619 | -932.4993 | 1.8568 | 1.882
0.92628 | -926.283 | 1.8698 | -934.4785 | 1.8647 | 1.8899
0.92824 | -928.245 | 1.855 | -936.4567 | 1.8499 | 1.8978
0.93021 | -930.208 | 1.844 | -938.4359 | 1.8389 | 1.9056
0.93217 | -932.17 | 1.8644 | -940.414 | 1.8593 | 1.9133
0.93413 | -934.133 | 1.8809 | -942.3932 | 1.8758 | 1.9209
0.9361 | -936.095 | 1.8886 | -944.3714 | 1.8834 | 1.9285
0.93806 | -938.057 | 1.8882 | -946.3495 | 1.883 | 1.9359
0.94002 | -940.02 | 1.9145 | -948.3287 | 1.9092 | 1.9433
0.94198 | -941.982 | 1.938 | -950.3069 | 1.9326 | 1.9506
0.94395 | -943.945 | 1.9708 | -952.2861 | 1.9654 | 1.9578
0.94591 | -945.907 | 1.9728 | -954.2642 | 1.9674 | 1.965
0.94787 | -947.87 | 1.9741 | -956.2434 | 1.9687 | 1.972
0.94983 | -949.832 | 1.9794 | -958.2216 | 1.974 | 1.979
0.95179 | -951.795 | 1.9886 | -960.2007 | 1.9831 | 1.9859
0.95376 | -953.757 | 1.9788 | -962.1789 | 1.9734 | 1.9927
0.95572 | -955.72 | 1.9891 | -964.1581 | 1.9836 | 1.9994
0.95768 | -957.682 | 1.9963 | -966.1363 | 1.9908 | 2.006
0.95964 | -959.645 | 1.9952 | -968.1154 | 1.9898 | 2.0126
0.96161 | -961.607 | 2.0039 | -970.0936 | 1.9984 | 2.019
0.96357 | -963.57 | 2.011 | -972.0728 | 2.0055 | 2.0254
0.96553 | -965.532 | 2.0165 | -974.0509 | 2.011 | 2.0317
0.96749 | -967.494 | 2.0348 | -976.0291 | 2.0292 | 2.038
0.96946 | -969.457 | 2.0343 | -978.0083 | 2.0288 | 2.0441
0.97142 | -971.419 | 2.0246 | -979.9865 | 2.019 | 2.0502
0.97338 | -973.382 | 2.0233 | -981.9656 | 2.0177 | 2.0561
0.97534 | -975.344 | 2.0245 | -983.9438 | 2.019 | 2.062
0.97731 | -977.307 | 2.0182 | -985.923 | 2.0127 | 2.0678
0.97927 | -979.269 | 2.0424 | -987.9011 | 2.0368 | 2.0736
0.98123 | -981.232 | 2.0352 | -989.8803 | 2.0297 | 2.0792
0.98319 | -983.194 | 2.0341 | -991.8585 | 2.0285 | 2.0848
0.98516 | -985.157 | 2.0357 | -993.8377 | 2.0301 | 2.0903
0.98712 | -987.119 | 2.0618 | -995.8158 | 2.0562 | 2.0957
0.98908 | -989.082 | 2.0642 | -997.795 | 2.0585 | 2.101
0.99104 | -991.044 | 2.0733 | -999.7732 | 2.0676 | 2.1062
0.99301 | -993.006 | 2.0844 | -1001.7513 | 2.0786 | 2.1114
0.99497 | -994.969 | 2.0884 | -1003.7305 | 2.0826 | 2.1164
0.99693 | -996.931 | 2.1048 | -1005.7087 | 2.099 | 2.1214
0.99889 | -998.894 | 2.109 | -1007.6879 | 2.1033 | 2.1263
1.0009 | -1000.86 | 2.1366 | -1009.6701 | 2.1308 | 2.1312
1.0028 | -1002.82 | 2.1284 | -1011.6462 | 2.1225 | 2.1359
1.0048 | -1004.78 | 2.1362 | -1013.6224 | 2.1303 | 2.1406
1.0067 | -1006.74 | 2.1403 | -1015.5985 | 2.1344 | 2.1451
1.0087 | -1008.71 | 2.1516 | -1017.5848 | 2.1457 | 2.1496
1.0107 | -1010.67 | 2.1627 | -1019.5609 | 2.1567 | 2.1541
1.0126 | -1012.63 | 2.162 | -1021.5371 | 2.1561 | 2.1584
1.0146 | -1014.59 | 2.1685 | -1023.5132 | 2.1626 | 2.1626
1.0166 | -1016.56 | 2.1704 | -1025.4994 | 2.1645 | 2.1668
1.0185 | -1018.52 | 2.1896 | -1027.4756 | 2.1836 | 2.1709
1.0205 | -1020.48 | 2.2117 | -1029.4517 | 2.2056 | 2.1749
1.0224 | -1022.44 | 2.1952 | -1031.4279 | 2.1892 | 2.1788
1.0244 | -1024.41 | 2.1764 | -1033.4141 | 2.1704 | 2.1826
1.0264 | -1026.37 | 2.1733 | -1035.3903 | 2.1674 | 2.1864
1.0283 | -1028.33 | 2.1931 | -1037.3664 | 2.1871 | 2.19
1.0303 | -1030.29 | 2.1966 | -1039.3426 | 2.1906 | 2.1936
1.0323 | -1032.26 | 2.1722 | -1041.3288 | 2.1662 | 2.1972
1.0342 | -1034.22 | 2.1433 | -1043.305 | 2.1374 | 2.2006
1.0362 | -1036.18 | 2.1265 | -1045.2811 | 2.1207 | 2.2039
1.0381 | -1038.14 | 2.0934 | -1047.2573 | 2.0876 | 2.2072
1.0401 | -1040.11 | 2.0843 | -1049.2435 | 2.0786 | 2.2104
1.0421 | -1042.07 | 2.1724 | -1051.2197 | 2.1665 | 2.2134
1.044 | -1044.03 | 3.3152 | -1053.1958 | 3.3061 | 2.2164
1.046 | -1045.99 | 3.0061 | -1055.172 | 2.9978 | 2.2194
1.048 | -1047.96 | 2.9041 | -1057.1582 | 2.8961 | 2.2222
1.0499 | -1049.92 | 2.8904 | -1059.1343 | 2.8825 | 2.225
1.0519 | -1051.88 | 2.9064 | -1061.1105 | 2.8984 | 2.2277
1.0538 | -1053.84 | 2.947 | -1063.0866 | 2.9389 | 2.2303
1.0558 | -1055.81 | 2.9496 | -1065.0729 | 2.9415 | 2.2328
1.0578 | -1057.77 | 2.9388 | -1067.049 | 2.9308 | 2.2352
1.0597 | -1059.73 | 2.9406 | -1069.0252 | 2.9326 | 2.2376
1.0617 | -1061.69 | 2.958 | -1071.0013 | 2.9499 | 2.2398
1.0637 | -1063.66 | 2.9626 | -1072.9876 | 2.9545 | 2.242
1.0656 | -1065.62 | 2.9441 | -1074.9637 | 2.936 | 2.2441
1.0676 | -1067.58 | 2.9412
1.0695 | -1069.54 | 2.938
1.0715 | -1071.51 | 2.9331
1.0735 | -1073.47 | 2.9066
1.0754 | -1075.43 | 2.8929
1.0774 | -1077.39 | 2.8487
1.0794 | -1079.35 | 2.4133
1.0813 | -1081.32 | 3.9745
1.0833 | -1083.28 | 4.7453
1.0852 | -1085.24 | 4.7132
1.0872 | -1087.2 | 4.4224
1.0892 | -1089.17 | 2.973
1.0911 | -1091.13 | 2.7632
1.0931 | -1093.09 | 2.7469
1.0951 | -1095.05 | 2.7326
1.097 | -1097.02 | 2.7287
1.099 | -1098.98 | 2.7294
1.1009 | -1100.94 | 2.7345
1.1029 | -1102.9 | 2.7339
1.1049 | -1104.87 | 2.736
1.1068 | -1106.83 | 2.7383
1.1088 | -1108.79 | 2.737
1.1107 | -1110.75 | 2.7381
1.1127 | -1112.72 | 2.7345
1.1147 | -1114.68 | 2.7375
1.1166 | -1116.64 | 2.7355
1.1186 | -1118.6 | 2.7346
1.1206 | -1120.57 | 2.7337
1.1225 | -1122.53 | 2.7324
1.1245 | -1124.49 | 2.7277
1.1264 | -1126.45 | 2.7263
1.1284 | -1128.42 | 2.7214
1.1304 | -1130.38 | 2.7204
1.1323 | -1132.34 | 2.7305
1.1343 | -1134.3 | 3.0019
1.1363 | -1136.27 | 4.5453
1.1382 | -1138.23 | 4.7555
1.1402 | -1140.19 | 4.2534
1.1421 | -1142.15 | 2.1042
1.1441 | -1144.12 | 2.7705
1.1461 | -1146.08 | 2.8183
1.148 | -1148.04 | 2.0095
1.15 | -1150 | -0.12485
1.152 | -1151.97 | -0.58676
1.1539 | -1153.93 | -0.65517
1.1559 | -1155.89 | -0.24325
1.1579 | -1157.85 | 0.034877
1.1598 | -1159.82 | 0.016706
1.1618 | -1161.78 | -0.0053399
1.1637 | -1163.74 | -0.0086162
1.1657 | -1165.7 | -0.0097538
1.1677 | -1167.67 | -0.018306
1.1696 | -1169.63 | -0.010186
1.1716 | -1171.59 | -0.0096779
1.1736 | -1173.55 | -0.010957
1.1755 | -1175.52 | -0.0038551
1.1775 | -1177.48 | 0.0034423
1.1794 | -1179.44 | 0.012512
1.1814 | -1181.4 | 0.013423
1.1834 | -1183.37 | 0.0084865
1.1853 | -1185.33 | 0.0043508
1.1873 | -1187.29 | -0.0020164
1.1892 | -1189.25 | -0.0013815
1.1912 | -1191.22 | -0.0012643
1.1932 | -1193.18 | -0.0054
1.1951 | -1195.14 | -0.0037471
1.1971 | -1197.1 | 0.010872
1.1991 | -1199.07 | 0.017564
1.201 | -1201.03 | 0.01379
1.203 | -1202.99 | 0.0099983
1.2049 | -1204.95 | 0.016483
1.2069 | -1206.91 | 0.020345
1.2089 | -1208.88 | 0.018028
1.2108 | -1210.84 | 0.0031626
1.2128 | -1212.8 | -0.0097085
1.2148 | -1214.76 | -0.0027553
1.2167 | -1216.73 | -0.005829
1.2187 | -1218.69 | -0.14506
1.2207 | -1220.65 | -0.7018
1.2226 | -1222.61 | -0.62086
1.2246 | -1224.58 | -0.58338
1.2265 | -1226.54 | -0.57739
1.2285 | -1228.5 | -0.57348
1.2305 | -1230.46 | -0.56362
1.2324 | -1232.43 | -0.56631
1.2344 | -1234.39 | -0.56154
1.2364 | -1236.35 | -0.56778
1.2383 | -1238.31 | -0.56613
1.2403 | -1240.28 | -0.56957
1.2422 | -1242.24 | -0.55894
1.2442 | -1244.2 | -0.55933
1.2462 | -1246.16 | -0.55914
1.2481 | -1248.13 | -0.55508
1.2501 | -1250.09 | -0.56905
1.2521 | -1252.05 | -0.56537
1.254 | -1254.01 | -0.55283