## 8-MUMPs95.RS.P2.0deg.500.third.
x-uncal | x-uncal | z-uncal | z-uncal |  | RM 8097 - RESIDUAL STRAIN (Trace a', a, e, or e', another possibility) |  | 2012-04-30
Suggested steps to follow to obtain data for residual strain from Trace a', a, e, or e':
mm | um | um | um | 1 | Start with uncalibrated x data (in mm) in Column A and uncalibrated z data
0 | 0 | -0.63574 | -0.63574 |  |  | (in um) in Column B
0.0019625 | 1.9625 | -0.63574 | -0.63574 | 2 | Insert a new Column B as data from Column A but in micrometers.
0.0039249 | 3.9249 | -0.63789 | -0.63789 | 3 | Copy the data from the new Column C into Column D
0.0058874 | 5.8874 | -0.63889 | -0.63889 | 4 | Plot the data in Columns B and C
0.0078499 | 7.8498 | -0.6395 | -0.6395 | 5 | Plot the data in Columns B and D
0.0098123 | 9.8123 | -0.64172 | -0.64172 | 6 | Move this plot near one of the uncalibrated x values to be obtained
0.011775 | 11.7748 | -0.64133 | -0.64133 | 7 | Highlight the appropriate x value as detailed in the standard and record
0.013737 | 13.7372 | -0.63936 | -0.63936 |  |  | the uncertainty, n, associated with this x value.
0.0157 | 15.6997 | -0.63405 | -0.63405 | 8 | Once again, plot the data in Columns B and D but move it near the other
0.017662 | 17.6622 | -0.63084 | -0.63084 |  |  | uncalibrated x value to be obtained.
0.019625 | 19.6246 | -0.62843 | -0.62843 | 9 | Highlight the appropriate x value and record the uncertainty, n, associated
0.021587 | 21.5871 | -0.63936 | -0.63936 |  |  | with this x value.
0.02355 | 23.5496 | -0.63907 | -0.63907 | 10 | The above values for x and n should be used in Data Sheet RS.3 for the given
0.025512 | 25.512 | -0.63739 | -0.63739 |  |  | data trace. The associated uncalibrated y value is typically obtained
0.027474 | 27.4745 | -0.63758 | -0.63758 |  |  | during the data session and optionally included as part of the file name.
0.029437 | 29.437 | -0.64372 | -0.64372 | NOTE 1: | The extracted data trace may not look like the data trace shown below. It depends
0.031399 | 31.3994 | -0.64844 | -0.64844 |  |  | upon where the data trace was obtained along the double-stuffed
0.033362 | 33.3619 | -0.64964 | -0.64964 |  |  | anchor. Consult another sample file for another possibility.
0.035324 | 35.3243 | -0.64543 | -0.64543 | NOTE 2: | For the double-stuffed anchors in the poly2 array, the poly2 corner of interest
0.037287 | 37.2868 | -0.65047 | -0.65047 |  |  | is located at a z value of approximately 3 um.
0.039249 | 39.2493 | -0.64781 | -0.64781
0.041212 | 41.2117 | -0.64481 | -0.64481
0.043174 | 43.1742 | -0.64033 | -0.64033
0.045137 | 45.1367 | -0.64517 | -0.64517
0.047099 | 47.0991 | -0.64664 | -0.64664
0.049062 | 49.0616 | -0.64787 | -0.64787
0.051024 | 51.024 | -0.64888 | -0.64888
0.052986 | 52.9865 | -0.64944 | -0.64944
0.054949 | 54.949 | -0.64964 | -0.64964
0.056911 | 56.9114 | -0.64874 | -0.64874
0.058874 | 58.8739 | -0.6462 | -0.6462
0.060836 | 60.8364 | -0.64858 | -0.64858
0.062799 | 62.7988 | -0.65207 | -0.65207
0.064761 | 64.7613 | -0.6536 | -0.6536
0.066724 | 66.7238 | -0.65585 | -0.65585
0.068686 | 68.6862 | -0.64676 | -0.64676
0.070649 | 70.6487 | -0.64602 | -0.64602
0.072611 | 72.6111 | -0.64803 | -0.64803
0.074574 | 74.5736 | -0.6569 | -0.6569
0.076536 | 76.5361 | -0.65858 | -0.65858
0.078498 | 78.4985 | -0.65444 | -0.65444
0.080461 | 80.461 | -0.6621 | -0.6621
0.082423 | 82.4235 | -0.66592 | -0.66592
0.084386 | 84.3859 | -0.65981 | -0.65981
0.086348 | 86.3484 | -0.65855 | -0.65855
0.088311 | 88.3109 | -0.65771 | -0.65771
0.090273 | 90.2733 | -0.65513 | -0.65513
0.092236 | 92.2358 | -0.65435 | -0.65435
0.094198 | 94.1982 | -0.65289 | -0.65289
0.096161 | 96.1607 | -0.65169 | -0.65169
0.098123 | 98.1232 | -0.65778 | -0.65778
0.10009 | 100.086 | -0.65884 | -0.65884
0.10205 | 102.048 | -0.66049 | -0.66049
0.10401 | 104.011 | -0.65338 | -0.65338
0.10597 | 105.973 | -0.65751 | -0.65751
0.10794 | 107.935 | -0.66286 | -0.66286
0.1099 | 109.898 | -0.66462 | -0.66462
0.11186 | 111.86 | -0.66165 | -0.66165
0.11382 | 113.823 | -0.66094 | -0.66094
0.11578 | 115.785 | -0.66522 | -0.66522
0.11775 | 117.748 | -0.66643 | -0.66643
0.11971 | 119.71 | -0.66465 | -0.66465
0.12167 | 121.673 | -0.66349 | -0.66349
0.12363 | 123.635 | -0.66801 | -0.66801
0.1256 | 125.598 | -0.66391 | -0.66391
0.12756 | 127.56 | -0.66418 | -0.66418
0.12952 | 129.523 | -0.66238 | -0.66238
0.13148 | 131.485 | -0.66642 | -0.66642
0.13345 | 133.448 | -0.67092 | -0.67092
0.13541 | 135.41 | -0.67191 | -0.67191
0.13737 | 137.372 | -0.67021 | -0.67021
0.13933 | 139.335 | -0.66461 | -0.66461
0.1413 | 141.297 | -0.67414 | -0.67414
0.14326 | 143.26 | -0.67684 | -0.67684
0.14522 | 145.222 | -0.6789 | -0.6789
0.14719 | 147.185 | -0.67488 | -0.67488
0.14915 | 149.147 | -0.66582 | -0.66582
0.15111 | 151.11 | -0.66685 | -0.66685
0.15307 | 153.072 | -0.66887 | -0.66887
0.15504 | 155.035 | -0.67526 | -0.67526
0.157 | 156.997 | -0.67586 | -0.67586
0.15896 | 158.96 | -0.67576 | -0.67576
0.16092 | 160.922 | -0.67608 | -0.67608
0.16288 | 162.884 | -0.67845 | -0.67845
0.16485 | 164.847 | -0.67532 | -0.67532
0.16681 | 166.809 | -0.67005 | -0.67005
0.16877 | 168.772 | -0.66534 | -0.66534
0.17073 | 170.734 | -0.65943 | -0.65943
0.1727 | 172.697 | -0.66923 | -0.66923
0.17466 | 174.659 | -0.68047 | -0.68047
0.17662 | 176.622 | -0.6896 | -0.6896
0.17858 | 178.584 | -0.70129 | -0.70129
0.18055 | 180.547 | -0.12316 | -0.12316
0.18251 | 182.509 | 0.016704 | 0.016704
0.18447 | 184.472 | 0.0053024 | 0.0053024
0.18643 | 186.434 | -0.0021027 | -0.0021027
0.1884 | 188.396 | 0.0022818 | 0.0022818
0.19036 | 190.359 | 0.0075428 | 0.0075428
0.19232 | 192.321 | 0.0058994 | 0.0058994
0.19428 | 194.284 | 0.0070295 | 0.0070295
0.19625 | 196.246 | 0.0076689 | 0.0076689
0.19821 | 198.209 | 0.0021804 | 0.0021804
0.20017 | 200.171 | 0.00031484 | 0.00031484
0.20213 | 202.134 | 0.0019015 | 0.0019015
0.2041 | 204.096 | 0.015173 | 0.015173
0.20606 | 206.059 | 0.0081168 | 0.0081168
0.20802 | 208.021 | -0.0041565 | -0.0041565
0.20998 | 209.984 | -0.0069668 | -0.0069668
0.21195 | 211.946 | -0.0034026 | -0.0034026
0.21391 | 213.909 | 0.0050419 | 0.0050419
0.21587 | 215.871 | 0.002444 | 0.002444
0.21783 | 217.833 | -0.00033218 | -0.00033218
0.2198 | 219.796 | 0.0033931 | 0.0033931
0.22176 | 221.758 | 0.0052898 | 0.0052898
0.22372 | 223.721 | 0.002626 | 0.002626
0.22568 | 225.683 | 0.00085568 | 0.00085568
0.22765 | 227.646 | -0.001774 | -0.001774
0.22961 | 229.608 | 0.0039264 | 0.0039264
0.23157 | 231.571 | -0.0017257 | -0.0017257
0.23353 | 233.533 | -0.0089989 | -0.0089989
0.2355 | 235.496 | -0.0046926 | -0.0046926
0.23746 | 237.458 | -0.0020268 | -0.0020268
0.23942 | 239.421 | 0.0039617 | 0.0039617
0.24138 | 241.383 | 0.012821 | 0.012821
0.24335 | 243.345 | -0.083612 | -0.083612
0.24531 | 245.308 | 0.69396 | 0.69396
0.24727 | 247.27 | 2.3389 | 2.3389
0.24923 | 249.233 | 2.908 | 2.908
0.2512 | 251.195 | 2.9313 | 2.9313
0.25316 | 253.158 | 2.2809 | 2.2809
0.25512 | 255.12 | 2.1675 | 2.1675
0.25708 | 257.083 | 2.3609 | 2.3609
0.25905 | 259.045 | 3.0476 | 3.0476
0.26101 | 261.008 | 3.4249 | 3.4249
0.26297 | 262.97 | 3.5118 | 3.5118
0.26493 | 264.933 | 3.5613 | 3.5613
0.26689 | 266.895 | 3.5907 | 3.5907
0.26886 | 268.857 | 3.5469 | 3.5469
0.27082 | 270.82 | 3.5262 | 3.5262
0.27278 | 272.782 | 3.512 | 3.512
0.27475 | 274.745 | 3.4989 | 3.4989
0.27671 | 276.707 | 3.4814 | 3.4814
0.27867 | 278.67 | 3.4459 | 3.4459
0.28063 | 280.632 | 3.5164 | 3.5164
0.28259 | 282.595 | 3.577 | 3.577
0.28456 | 284.557 | 3.5951 | 3.5951
0.28652 | 286.52 | 3.5698 | 3.5698
0.28848 | 288.482 | 3.5476 | 3.5476
0.29045 | 290.445 | 3.5701 | 3.5701
0.29241 | 292.407 | 3.5511 | 3.5511
0.29437 | 294.37 | 3.5518 | 3.5518
0.29633 | 296.332 | 3.6276 | 3.6276
0.29829 | 298.294 | 3.6396 | 3.6396
0.30026 | 300.257 | 3.6827 | 3.6827
0.30222 | 302.219 | 3.7181 | 3.7181
0.30418 | 304.182 | 3.7357 | 3.7357
0.30614 | 306.144 | 3.7452 | 3.7452
0.30811 | 308.107 | 3.7942 | 3.7942
0.31007 | 310.069 | 3.8148 | 3.8148
0.31203 | 312.032 | 3.195 | 3.195
0.31399 | 313.994 | 2.2885 | 2.2885
0.31596 | 315.957 | 2.1943 | 2.1943
0.31792 | 317.919 | 2.7504 | 2.7504
0.31988 | 319.882 | 2.7173 | 2.7173 | n=1
0.32184 | 321.844 | 1.492 | 1.492
0.32381 | 323.806 | -0.42049 | -0.42049
0.32577 | 325.769 | -0.67354 | -0.67354
0.32773 | 327.731 | -0.68668 | -0.68668
0.32969 | 329.694 | -0.69058 | -0.69058
0.33166 | 331.656 | -0.68985 | -0.68985
0.33362 | 333.619 | -0.68991 | -0.68991
0.33558 | 335.581 | -0.69078 | -0.69078
0.33754 | 337.544 | -0.69242 | -0.69242
0.33951 | 339.506 | -0.68627 | -0.68627
0.34147 | 341.469 | -0.61564 | -0.61564
0.34343 | 343.431 | -0.5065 | -0.5065
0.34539 | 345.394 | -0.43223 | -0.43223
0.34736 | 347.356 | -0.44618 | -0.44618
0.34932 | 349.318
0.35128 | 351.281
0.35324 | 353.243
0.35521 | 355.206
0.35717 | 357.168
0.35913 | 359.131
0.36109 | 361.093
0.36306 | 363.056
0.36502 | 365.018
0.36698 | 366.981
0.36894 | 368.943
0.37091 | 370.906
0.37287 | 372.868
0.37483 | 374.831
0.37679 | 376.793
0.37876 | 378.755
0.38072 | 380.718
0.38268 | 382.68
0.38464 | 384.643
0.3866 | 386.605
0.38857 | 388.568
0.39053 | 390.53
0.39249 | 392.493
0.39446 | 394.455
0.39642 | 396.418
0.39838 | 398.38
0.40034 | 400.343
0.40231 | 402.305
0.40427 | 404.267
0.40623 | 406.23
0.40819 | 408.192
0.41015 | 410.155
0.41212 | 412.117
0.41408 | 414.08
0.41604 | 416.042
0.41801 | 418.005
0.41997 | 419.967
0.42193 | 421.93
0.42389 | 423.892
0.42585 | 425.855
0.42782 | 427.817
0.42978 | 429.779
0.43174 | 431.742
0.4337 | 433.704
0.43567 | 435.667
0.43763 | 437.629
0.43959 | 439.592
0.44155 | 441.554
0.44352 | 443.517
0.44548 | 445.479
0.44744 | 447.442
0.4494 | 449.404
0.45137 | 451.367
0.45333 | 453.329
0.45529 | 455.292
0.45725 | 457.254
0.45922 | 459.216
0.46118 | 461.179
0.46314 | 463.141
0.4651 | 465.104
0.46707 | 467.066
0.46903 | 469.029
0.47099 | 470.991
0.47295 | 472.954
0.47492 | 474.916
0.47688 | 476.879
0.47884 | 478.841
0.4808 | 480.804
0.48277 | 482.766
0.48473 | 484.728
0.48669 | 486.691
0.48865 | 488.653
0.49062 | 490.616
0.49258 | 492.578
0.49454 | 494.541
0.4965 | 496.503
0.49847 | 498.466
0.50043 | 500.428
0.50239 | 502.391
0.50435 | 504.353
0.50632 | 506.316
0.50828 | 508.278
0.51024 | 510.24
0.5122 | 512.203
0.51416 | 514.165
0.51613 | 516.128
0.51809 | 518.09
0.52005 | 520.053
0.52202 | 522.015
0.52398 | 523.978
0.52594 | 525.94
0.5279 | 527.903
0.52987 | 529.865
0.53183 | 531.828
0.53379 | 533.79
0.53575 | 535.753
0.53772 | 537.715
0.53968 | 539.677
0.54164 | 541.64
0.5436 | 543.602
0.54556 | 545.565
0.54753 | 547.527
0.54949 | 549.49
0.55145 | 551.452
0.55341 | 553.415
0.55538 | 555.377
0.55734 | 557.34
0.5593 | 559.302
0.56127 | 561.265
0.56323 | 563.227
0.56519 | 565.189
0.56715 | 567.152
0.56911 | 569.114
0.57108 | 571.077
0.57304 | 573.039
0.575 | 575.002
0.57696 | 576.964
0.57893 | 578.927
0.58089 | 580.889
0.58285 | 582.852
0.58481 | 584.814
0.58678 | 586.777
0.58874 | 588.739
0.5907 | 590.701
0.59266 | 592.664
0.59463 | 594.626
0.59659 | 596.589
0.59855 | 598.551
0.60051 | 600.514
0.60248 | 602.476
0.60444 | 604.439
0.6064 | 606.401
0.60836 | 608.364
0.61033 | 610.326
0.61229 | 612.289
0.61425 | 614.251
0.61621 | 616.213
0.61818 | 618.176
0.62014 | 620.138
0.6221 | 622.101
0.62406 | 624.063
0.62603 | 626.026
0.62799 | 627.988
0.62995 | 629.951
0.63191 | 631.913
0.63388 | 633.876
0.63584 | 635.838
0.6378 | 637.801
0.63976 | 639.763
0.64173 | 641.726
0.64369 | 643.688
0.64565 | 645.65
0.64761 | 647.613
0.64958 | 649.575
0.65154 | 651.538
0.6535 | 653.5
0.65546 | 655.463
0.65743 | 657.425
0.65939 | 659.388
0.66135 | 661.35
0.66331 | 663.313
0.66527 | 665.275
0.66724 | 667.238
0.6692 | 669.2
0.67116 | 671.162
0.67312 | 673.125
0.67509 | 675.087
0.67705 | 677.05
0.67901 | 679.012
0.68097 | 680.975
0.68294 | 682.937
0.6849 | 684.9
0.68686 | 686.862
0.68883 | 688.825
0.69079 | 690.787
0.69275 | 692.75
0.69471 | 694.712
0.69667 | 696.674
0.69864 | 698.637
0.7006 | 700.599
0.70256 | 702.562
0.70452 | 704.524
0.70649 | 706.487
0.70845 | 708.449
0.71041 | 710.412
0.71237 | 712.374
0.71434 | 714.337
0.7163 | 716.299
0.71826 | 718.262
0.72022 | 720.224
0.72219 | 722.187
0.72415 | 724.149
0.72611 | 726.111
0.72807 | 728.074
0.73004 | 730.036
0.732 | 731.999
0.73396 | 733.961
0.73592 | 735.924
0.73789 | 737.886
0.73985 | 739.849
0.74181 | 741.811
0.74377 | 743.774
0.74574 | 745.736
0.7477 | 747.699
0.74966 | 749.661
0.75162 | 751.623
0.75359 | 753.586
0.75555 | 755.548
0.75751 | 757.511
0.75947 | 759.473
0.76144 | 761.436
0.7634 | 763.398
0.76536 | 765.361
0.76732 | 767.323
0.76929 | 769.286
0.77125 | 771.248
0.77321 | 773.211
0.77517 | 775.173
0.77714 | 777.135
0.7791 | 779.098
0.78106 | 781.06
0.78302 | 783.023
0.78499 | 784.985
0.78695 | 786.948
0.78891 | 788.91
0.79087 | 790.873
0.79283 | 792.835
0.7948 | 794.798
0.79676 | 796.76 | -0.38344 | -0.38344
0.79872 | 798.723 | -0.44125 | -0.44125
0.80068 | 800.685 | -0.50578 | -0.50578
0.80265 | 802.648 | -0.57828 | -0.57828
0.80461 | 804.61 | -0.66693 | -0.66693
0.80657 | 806.572 | -0.70277 | -0.70277
0.80854 | 808.535 | -0.70401 | -0.70401
0.8105 | 810.497 | -0.69266 | -0.69266
0.81246 | 812.46 | -0.67797 | -0.67797
0.81442 | 814.422 | -0.30314 | -0.30314
0.81639 | 816.385 | 1.8895 | 1.8895
0.81835 | 818.347 | 2.987 | 2.987 | n=1
0.82031 | 820.31 | 2.9599 | 2.9599
0.82227 | 822.272 | 2.5206 | 2.5206
0.82424 | 824.235 | 2.2047 | 2.2047
0.8262 | 826.197 | 2.414 | 2.414
0.82816 | 828.16 | 3.6111 | 3.6111
0.83012 | 830.122 | 4.1474 | 4.1474
0.83208 | 832.084 | 4.2236 | 4.2236
0.83405 | 834.047 | 4.2175 | 4.2175
0.83601 | 836.009 | 4.1919 | 4.1919
0.83797 | 837.972 | 4.2032 | 4.2032
0.83993 | 839.934 | 4.188 | 4.188
0.8419 | 841.897 | 4.1742 | 4.1742
0.84386 | 843.859 | 4.1643 | 4.1643
0.84582 | 845.822 | 4.165 | 4.165
0.84778 | 847.784 | 4.1556 | 4.1556
0.84975 | 849.747 | 4.1429 | 4.1429
0.85171 | 851.709 | 4.152 | 4.152
0.85367 | 853.672 | 4.1301 | 4.1301
0.85563 | 855.634 | 4.1285 | 4.1285
0.8576 | 857.596 | 4.1814 | 4.1814
0.85956 | 859.559 | 4.1498 | 4.1498
0.86152 | 861.521 | 4.1585 | 4.1585
0.86348 | 863.484 | 4.1691 | 4.1691
0.86545 | 865.446 | 4.1264 | 4.1264
0.86741 | 867.409 | 4.1088 | 4.1088
0.86937 | 869.371 | 4.0965 | 4.0965
0.87133 | 871.334 | 4.1096 | 4.1096
0.8733 | 873.296 | 4.1286 | 4.1286
0.87526 | 875.259 | 4.1586 | 4.1586
0.87722 | 877.221 | 4.1795 | 4.1795
0.87918 | 879.184 | 4.1659 | 4.1659
0.88115 | 881.146 | 3.9465 | 3.9465
0.88311 | 883.109 | 2.8237 | 2.8237
0.88507 | 885.071 | 2.37 | 2.37
0.88703 | 887.033 | 2.8934 | 2.8934
0.889 | 888.996 | 2.9421 | 2.9421
0.89096 | 890.958 | 1.9768 | 1.9768
0.89292 | 892.921 | -0.19712 | -0.19712
0.89488 | 894.883 | -0.73922 | -0.73922
0.89685 | 896.846 | -0.77628 | -0.77628
0.89881 | 898.808 | -0.32616 | -0.32616
0.90077 | 900.771 | 0.029638 | 0.029638
0.90273 | 902.733 | 0.018859 | 0.018859
0.9047 | 904.696 | -0.0032414 | -0.0032414
0.90666 | 906.658 | -0.0059809 | -0.0059809
0.90862 | 908.621 | -0.013469 | -0.013469
0.91058 | 910.583 | -0.010195 | -0.010195
0.91255 | 912.545 | -0.014004 | -0.014004
0.91451 | 914.508 | -0.013721 | -0.013721
0.91647 | 916.47 | -0.011117 | -0.011117
0.91843 | 918.433 | -0.015179 | -0.015179
0.92039 | 920.395 | -0.01213 | -0.01213
0.92236 | 922.358 | -0.005324 | -0.005324
0.92432 | 924.32 | -0.011547 | -0.011547
0.92628 | 926.283 | -0.0098289 | -0.0098289
0.92824 | 928.245 | -0.020042 | -0.020042
0.93021 | 930.208 | -0.021553 | -0.021553
0.93217 | 932.17 | -0.011148 | -0.011148
0.93413 | 934.133 | 0.0067349 | 0.0067349
0.9361 | 936.095 | 0.0076697 | 0.0076697
0.93806 | 938.057 | 0.0080576 | 0.0080576
0.94002 | 940.02 | 0.0055109 | 0.0055109
0.94198 | 941.982 | 0.0051713 | 0.0051713
0.94395 | 943.945 | 0.0073952 | 0.0073952
0.94591 | 945.907 | 0.0093309 | 0.0093309
0.94787 | 947.87 | 0.0043282 | 0.0043282
0.94983 | 949.832 | 0.004472 | 0.004472
0.95179 | 951.795 | -0.004022 | -0.004022
0.95376 | 953.757 | -0.0066638 | -0.0066638
0.95572 | 955.72 | -0.0057535 | -0.0057535
0.95768 | 957.682 | -0.010678 | -0.010678
0.95964 | 959.645 | 0.00075233 | 0.00075233
0.96161 | 961.607 | -0.068049 | -0.068049
0.96357 | 963.57 | -0.79607 | -0.79607
0.96553 | 965.532 | -0.78775 | -0.78775
0.96749 | 967.494 | -0.73928 | -0.73928
0.96946 | 969.457 | -0.73794 | -0.73794
0.97142 | 971.419 | -0.74 | -0.74
0.97338 | 973.382 | -0.74582 | -0.74582
0.97534 | 975.344 | -0.74651 | -0.74651
0.97731 | 977.307 | -0.73985 | -0.73985
0.97927 | 979.269 | -0.73945 | -0.73945
0.98123 | 981.232 | -0.73232 | -0.73232
0.98319 | 983.194 | -0.73812 | -0.73812
0.98516 | 985.157 | -0.73814 | -0.73814
0.98712 | 987.119 | -0.74121 | -0.74121
0.98908 | 989.082 | -0.73724 | -0.73724
0.99104 | 991.044 | -0.73506 | -0.73506
0.99301 | 993.006 | -0.73607 | -0.73607
0.99497 | 994.969 | -0.73597 | -0.73597
0.99693 | 996.931 | -0.7338 | -0.7338
0.99889 | 998.894 | -0.7385 | -0.7385
1.0009 | 1000.86 | -0.73057 | -0.73057
1.0028 | 1002.82 | -0.73001 | -0.73001
1.0048 | 1004.78 | -0.73489 | -0.73489
1.0067 | 1006.74 | -0.72678 | -0.72678
1.0087 | 1008.71 | -0.71816 | -0.71816
1.0107 | 1010.67 | -0.71451 | -0.71451
1.0126 | 1012.63 | -0.7164 | -0.7164
1.0146 | 1014.59 | -0.71406 | -0.71406
1.0166 | 1016.56 | -0.7174 | -0.7174
1.0185 | 1018.52 | -0.71688 | -0.71688
1.0205 | 1020.48 | -0.71642 | -0.71642
1.0224 | 1022.44 | -0.71666 | -0.71666
1.0244 | 1024.41 | -0.71191 | -0.71191
1.0264 | 1026.37 | -0.71972 | -0.71972
1.0283 | 1028.33 | -0.72201 | -0.72201
1.0303 | 1030.29 | -0.71817 | -0.71817
1.0323 | 1032.26 | -0.71455 | -0.71455
1.0342 | 1034.22 | -0.71194 | -0.71194
1.0362 | 1036.18 | -0.7193 | -0.7193
1.0381 | 1038.14 | -0.71971 | -0.71971
1.0401 | 1040.11 | -0.72193 | -0.72193
1.0421 | 1042.07 | -0.71823 | -0.71823
1.044 | 1044.03 | -0.7176 | -0.7176
1.046 | 1045.99 | -0.7161 | -0.7161
1.048 | 1047.96 | -0.71491 | -0.71491
1.0499 | 1049.92 | -0.71466 | -0.71466
1.0519 | 1051.88 | -0.71401 | -0.71401
1.0538 | 1053.84 | -0.71356 | -0.71356
1.0558 | 1055.81 | -0.71234 | -0.71234
1.0578 | 1057.77 | -0.70705 | -0.70705
1.0597 | 1059.73 | -0.71948 | -0.71948
1.0617 | 1061.69 | -0.7182 | -0.7182
1.0637 | 1063.66 | -0.72015 | -0.72015
1.0656 | 1065.62 | -0.71903 | -0.71903
1.0676 | 1067.58 | -0.71809 | -0.71809
1.0695 | 1069.54 | -0.7162 | -0.7162
1.0715 | 1071.51 | -0.71173 | -0.71173
1.0735 | 1073.47 | -0.70606 | -0.70606
1.0754 | 1075.43 | -0.70525 | -0.70525
1.0774 | 1077.39 | -0.70911 | -0.70911
1.0794 | 1079.35 | -0.72225 | -0.72225
1.0813 | 1081.32 | -0.72127 | -0.72127
1.0833 | 1083.28 | -0.7184 | -0.7184
1.0852 | 1085.24 | -0.721 | -0.721
1.0872 | 1087.2 | -0.71805 | -0.71805
1.0892 | 1089.17 | -0.71709 | -0.71709
1.0911 | 1091.13 | -0.71303 | -0.71303
1.0931 | 1093.09 | -0.70769 | -0.70769
1.0951 | 1095.05 | -0.71665 | -0.71665
1.097 | 1097.02 | -0.72602 | -0.72602
1.099 | 1098.98 | -0.7222 | -0.7222
1.1009 | 1100.94 | -0.72017 | -0.72017
1.1029 | 1102.9 | -0.72111 | -0.72111
1.1049 | 1104.87 | -0.71366 | -0.71366
1.1068 | 1106.83 | -0.72035 | -0.72035
1.1088 | 1108.79 | -0.71605 | -0.71605
1.1107 | 1110.75 | -0.72209 | -0.72209
1.1127 | 1112.72 | -0.71755 | -0.71755
1.1147 | 1114.68 | -0.71489 | -0.71489
1.1166 | 1116.64 | -0.71622 | -0.71622
1.1186 | 1118.6 | -0.71789 | -0.71789
1.1206 | 1120.57 | -0.70712 | -0.70712
1.1225 | 1122.53 | -0.70615 | -0.70615
1.1245 | 1124.49 | -0.71529 | -0.71529
1.1264 | 1126.45 | -0.7233 | -0.7233
1.1284 | 1128.42 | -0.72705 | -0.72705
1.1304 | 1130.38 | -0.72182 | -0.72182
1.1323 | 1132.34 | -0.72081 | -0.72081
1.1343 | 1134.3 | -0.71756 | -0.71756
1.1363 | 1136.27 | -0.72194 | -0.72194
1.1382 | 1138.23 | -0.71451 | -0.71451
1.1402 | 1140.19 | -0.71547 | -0.71547
1.1421 | 1142.15 | -0.71555 | -0.71555
1.1441 | 1144.12 | -0.71695 | -0.71695
1.1461 | 1146.08 | -0.71849 | -0.71849
1.148 | 1148.04 | -0.72431 | -0.72431
1.15 | 1150 | -0.72341 | -0.72341
1.152 | 1151.97 | -0.72385 | -0.72385
1.1539 | 1153.93 | -0.72265 | -0.72265
1.1559 | 1155.89 | -0.71986 | -0.71986
1.1579 | 1157.85 | -0.72362 | -0.72362
1.1598 | 1159.82 | -0.72122 | -0.72122
1.1618 | 1161.78 | -0.71562 | -0.71562
1.1637 | 1163.74 | -0.71447 | -0.71447
1.1657 | 1165.7 | -0.72315 | -0.72315
1.1677 | 1167.67 | -0.72149 | -0.72149
1.1696 | 1169.63 | -0.72051 | -0.72051
1.1716 | 1171.59 | -0.71721 | -0.71721
1.1736 | 1173.55 | -0.72157 | -0.72157
1.1755 | 1175.52 | -0.71633 | -0.71633
1.1775 | 1177.48 | -0.71818 | -0.71818
1.1794 | 1179.44 | -0.72032 | -0.72032
1.1814 | 1181.4 | -0.72081 | -0.72081
1.1834 | 1183.37 | -0.72744 | -0.72744
1.1853 | 1185.33 | -0.715 | -0.715
1.1873 | 1187.29 | -0.71153 | -0.71153
1.1892 | 1189.25 | -0.70596 | -0.70596
1.1912 | 1191.22 | -0.71542 | -0.71542
1.1932 | 1193.18 | -0.7134 | -0.7134
1.1951 | 1195.14 | -0.70795 | -0.70795
1.1971 | 1197.1 | -0.71013 | -0.71013
1.1991 | 1199.07 | -0.72224 | -0.72224
1.201 | 1201.03 | -0.72292 | -0.72292
1.203 | 1202.99 | -0.72501 | -0.72501
1.2049 | 1204.95 | -0.72115 | -0.72115
1.2069 | 1206.91 | -0.72618 | -0.72618
1.2089 | 1208.88 | -0.723 | -0.723
1.2108 | 1210.84 | -0.7264 | -0.7264
1.2128 | 1212.8 | -0.71858 | -0.71858
1.2148 | 1214.76 | -0.7201 | -0.7201
1.2167 | 1216.73 | -0.71755 | -0.71755
1.2187 | 1218.69 | -0.72523 | -0.72523
1.2207 | 1220.65 | -0.72741 | -0.72741
1.2226 | 1222.61 | -0.7213 | -0.7213
1.2246 | 1224.58 | -0.7168 | -0.7168
1.2265 | 1226.54 | -0.71492 | -0.71492
1.2285 | 1228.5 | -0.72756 | -0.72756
1.2305 | 1230.46 | -0.7265 | -0.7265
1.2324 | 1232.43 | -0.71563 | -0.71563
1.2344 | 1234.39 | -0.71912 | -0.71912
1.2364 | 1236.35 | -0.71706 | -0.71706
1.2383 | 1238.31 | -0.7176 | -0.7176
1.2403 | 1240.28 | -0.72231 | -0.72231
1.2422 | 1242.24 | -0.72508 | -0.72508
1.2442 | 1244.2 | -0.72093 | -0.72093
1.2462 | 1246.16 | -0.7284 | -0.7284
1.2481 | 1248.13 | -0.74981 | -0.74981
1.2501 | 1250.09 | -0.78692 | -0.78692
1.2521 | 1252.05 | -0.64054 | -0.64054
1.254 | 1254.01 | 0.052666 | 0.052666